## Slide 1
Phaco Machine
and Instruments
Michael Abendroth, MD, MBA

## Slide 2: Phaco Machine
Alcon Centurion
B&L Stellaris Elite
J&J Whitestar Signature Pro

## Slide 3: Phaco Screen
Surgeon
Procedure
Cumulative Dissipated Energy
Bottle Height / IOP
Continuous Irrigation
Phaco Mode
Davison, James. 10.2147/OPTH.S90245
Phaco Power
BSS Remaining
Vacuum & Aspiration

## Slide 4: Phaco Base
Fluid Cassette
Phaco Handpiece
Vitrector
www.jodymyerseye.com

## Slide 5: Phaco Foot Pedal
Dada, Tanuj. 9788184481792

## Slide 6: Steps of Cataract Surgery
Paracentesis
Anesthetic and Viscoelastic
Main Wound
Capsulorrhexis
Hydrodissection +/- Hydrodelineation
Nuclear Disassembly
Cortex Removal
IOL Insertion
Viscoelastic Removal
Wound Hydration

## Slide 7: Steps of Cataract Surgery
Paracentesis
Anesthetic and Viscoelastic
Main Wound
Capsulorrhexis
Hydrodissection +/- Hydrodelineation
Nuclear Disassembly
Cortex Removal
IOL Insertion
Viscoelastic Removal
Wound Hydration

## Slide 8: Paracentesis Blade
www.caliberophthalmics.com

## Slide 9: Steps of Cataract Surgery
Paracentesis
Anesthetic and Viscoelastic
Main Wound
Capsulorrhexis
Hydrodissection +/- Hydrodelineation
Nuclear Disassembly
Cortex Removal
IOL Insertion
Viscoelastic Removal
Wound Hydration

## Slide 10: Anesthetic and Viscoelastic
Dispersive Viscoelastic
Lidocaine +/- Epinephrine

## Slide 11: Steps of Cataract Surgery
Paracentesis
Anesthetic and Viscoelastic
Main Wound
Capsulorrhexis
Hydrodissection +/- Hydrodelineation
Nuclear Disassembly
Cortex Removal
IOL Insertion
Viscoelastic Removal
Wound Hydration

## Slide 12: Keratome
www.caliberophthalmics.com

## Slide 13: Steps of Cataract Surgery
Paracentesis
Anesthetic and Viscoelastic
Main Wound
Capsulorrhexis
Hydrodissection +/- Hydrodelineation
Nuclear Disassembly
Cortex Removal
IOL Insertion
Viscoelastic Removal
Wound Hydration

## Slide 14: Cystotome and Utrata
www.storzeye.eu

## Slide 15: Steps of Cataract Surgery
Paracentesis
Anesthetic and Viscoelastic
Main Wound
Capsulorrhexis
Hydrodissection +/- Hydrodelineation
Nuclear Disassembly
Cortex Removal
IOL Insertion
Viscoelastic Removal
Wound Hydration

## Slide 16: Hydrodissection Cannula
www.storzeye.eu
Round Tip
Flat Tip
Chang

## Slide 17: Steps of Cataract Surgery
Paracentesis
Anesthetic and Viscoelastic
Main Wound
Capsulorrhexis
Hydrodissection +/- Hydrodelineation
Nuclear Disassembly
Cortex Removal
IOL Insertion
Viscoelastic Removal
Wound Hydration

## Slide 18: Phaco Handpiece
BCSC Volume 11: Lens and Cataract

## Slide 19: Second Instrument
www.microsurgical.com

## Slide 20: Steps of Cataract Surgery
Paracentesis
Anesthetic and Viscoelastic
Main Wound
Capsulorrhexis
Hydrodissection +/- Hydrodelineation
Nuclear Disassembly
Cortex Removal
IOL Insertion
Viscoelastic Removal
Wound Hydration

## Slide 21: Irrigation/Aspiration Handpiece

## Slide 22: Steps of Cataract Surgery
Paracentesis
Anesthetic and Viscoelastic
Main Wound
Capsulorrhexis
Hydrodissection +/- Hydrodelineation
Nuclear Disassembly
Cortex Removal
IOL Insertion
Viscoelastic Removal
Wound Hydration

## Slide 23: Viscoelastic
Cohesive

## Slide 24: IOL and Injector
www.prnewswire.com
Monofocal
Multifocal Toric
Three-Piece
Anterior Chamber

## Slide 25: Lester Manipulator
www.accutome.com

## Slide 26: Steps of Cataract Surgery
Paracentesis
Anesthetic and Viscoelastic
Main Wound
Capsulorrhexis
Hydrodissection +/- Hydrodelineation
Nuclear Disassembly
Cortex Removal
IOL Insertion
Viscoelastic Removal
Wound Hydration

## Slide 27: Irrigation/Aspiration Handpiece
www.accutome.com

## Slide 28: Steps of Cataract Surgery
Paracentesis
Anesthetic and Viscoelastic
Main Wound
Capsulorrhexis
Hydrodissection +/- Hydrodelineation
Nuclear Disassembly
Cortex Removal
IOL Insertion
Viscoelastic Removal
Wound Hydration

## Slide 29: BSS Cannula and Weck-Cel
Round Tip
www.bvimedical.com